General rules for Laboratory Work at ANA Futura

Department of Clinical and Science Intervention and Technology (CLINTEC)

Department of Dental Medicine (DENTMED)

Department of Laboratory Medicine (LABMED)

Department of Medicine Huddinge (MEDH)

Purpose

This document describes the general regulations and routines for laboratory work that apply to all departments at ANA Futura. Specific guidelines that are adapted to the specific activities, in different rooms or groups of rooms, are also available at each department/section.

General regulations

- All staff who start work at ANA Futura must attend the mandatory House, safety and fire introduction for Ana Futura within 1 month.

- For all employees and students who are active in KI's laboratory activities or other activities, it is mandatory to perform the online course KI's Laboratory safety introduction – Laboratory Staff. Students that only participate in laboratory activities led by teachers are not affected. The course is updated regularly and therefore repetition is recommended every five years.

- Study the evacuation routes and assembling point at ANA Futura.

- If you are working at KI for more than 6 months, it is mandatory to attend the basic fire safety course. Fire safety education must be repeated every 4 years. Book a basic fire safety education here.

Laboratory rules and regulation

- All staff who start working at ANA Futura laboratories must obtain and sign a laboratory introduction document arranged by their department.

- Everyone has a responsibility to take care of equipment and ensure that all laboratories are kept clean and tidy.

- Do not work alone in the laboratory after office hours without approval from your superior.

- Short-time visitors/students (1-90 days) are only allowed to be in ANA Futura during office hours and in the presence of a responsible person or supervisor. A visitor must carry a badge with the name and responsible person’s name.

- Book common equipment according to the laboratory routines.

Some instruments and equipment require special training or certification before use.

- Work with BSL-2 or BSL-2/GMM pathogens must be registered with the Swedish Work Environment Authority (Arbetsmiljöverket) also including a risk assessment form for work with biological agents (BARA) at https://staff.ki.se/biosafety

- All chemicals must be registered in Karolinska Institutes chemical inventory database (KLARA) including a risk assessment form for work with the chemical. https://secure.port.se/alphaquest/app_kikem/pcmain.cfm

- All chemicals, including kits and commercial assays, must be labeled with a barcode.

- Working with human blood, tissue, or primary cell cultures does not require registration, but must be regarded as potentially infectious material. This work should follow specific guidelines (https://staff.ki.se/media/162628/download) including a risk assessment form for work with clinical specimens from humans (HUMRA).

General laboratory routines

- A protective coat must be worn when working in the laboratory.

  - BSL-1 labs: white lab coat

  - BSL-1 cell culture labs: yellow/white striped (Textilia) or yellow disposable lab coats (behind knotted)

  - BSL-2 cell culture labs: yellow/white striped (Textilia) or yellow disposable lab coats (behind knotted)

    - Use lab shoes (or shoe-covers) inside all the cell culture labs.

    - As an alternative to private clothes, scrubs (sanitary clothing, not protective) could be used under the lab coat.

- Classified Gloves must be used according to the risk assessment in BSL-2 laboratories, and safety glasses when necessary.

- You are only allowed to wear a glove on one hand in the corridors and not touch any handles with the glove. Please read the specific guidelines for the laboratory or work procedure.

- No eating, drinking, smoking, handling contact lenses or applying cosmetics in any laboratory is allowed.

- Always use appropriate pipetting instruments, when performing pipetting task

- Take off the protective coat, BSL-2 lab shoes and gloves when leaving the lab, also when relocating from one lab to another.
Always wash hands:

  - after handling chemicals.

  - Before leaving the lab.

- Follow the cleaning and waste handling guidelines (including recycling) designated for each laboratory or room.

- Lab coats are not allowed to be used in office spaces, meeting rooms, or the lunchroom.

Work in the laboratories

- Plan your work properly before entering the lab.

- Read the guidelines for the laboratory including general routines and how to handle sterile or chemical hoods, incubators, waste, and equipment.

- Read relevant risk assessments (BARA, KLARA and/or HUMRA) and safety data sheets before you start your work.

- Work in an orderly way to minimize splashes or generation of aerosols.

- Avoid skin contact with chemicals and microorganisms.

- Keep the work area free of chemicals and equipment that is not used.

- To avoid biohazard or contamination, do not move laboratory equipment between the rooms if not necessary.

- Transfer of materials in the corridors:

  - Blood products and samples containing known viable BSL-2 pathogens must be transferred between laboratories in sealed containers. (no spill risk)

  - Inactivated samples must be transferred between laboratories covered with Parafilm or similar or in a sealed container. (Limited spill risk)

- Laboratory equipment or samples must never be left unattended in the corridors or passages.

- Always label reagents, containers, and samples properly with your name, date, and content.

- Change your lab coat at least once a month according to the time sheet in your lab.

- Clean up according to the cleaning guidelines when the work is finished.

- Document your work in ELN (Electronic Lab Notebook).

Laboratory Waste

- Yellow boxes are used for contaminated solid & liquid, sharps /infectious/pharmaceuticals, including cytostatic waste. Put the label # UN3291 “Skärande/Stickand smittförande avfall” on, before you start using the yellow bin.

- Chemical waste must be labelled with content and left in the Chemical waste room on the 4th floor. See more info on Guidelines for chemical use and storage in https://medarbetare.ki.se/media/163532/download?attachment

- Black boxes are used for biological waste and must be stored in -20C.

- Green boxes are used for radioactive waste.

Please find more detailed info at https://staff.ki.se/laboratory-waste

Chemical spill routines

- Seal the area/room and wait 15-30 min!

- Contact Räddningstjänsten if risk for injury/somebody is injured: 112

- Read Risk Assessment & MSDS for advice in case of exposure.

- Activate spillage alarm in case of evacuation requirements and inform your manager. Read more in; Anvisningar för nödlägen såsom större spill och utsläpp av miljö- och hälsofarliga kemikalier

Important information and links

- Carefully study the evacuation routes and identify your assembly point in case of an evacuation.

- The evacuation plan and fire equipment as well as emergency showers and first aid kits are located on the wall in the corridors. Emergency showers are also located inside some laboratories.

- You are responsible for keeping areas clean and tidy after your work in all of ANA Futura!

- Corridors and evacuation routes should always be free.

As an employee at Karolinska Institute, including scholarship-funded doctoral and post-doctoral students, you can receive medical consultation for work-related issues from the occupational health service.

https://staff.ki.se/occupational-health-service-for-employees

As an employee at Karolinska Institute, including scholarship-funded doctoral and post-doctoral students, you can contact Staff for support for counselling, who provides services with both work-related and private matters (phone 0200-21 63 00).

https://staff.ki.se/staff-support-around-the-clock-telephone-counselling

Any laboratory work performed by pregnant women should be discussed with a superior after an individual risk assessment of their work environment (https://staff.ki.se/tools-and-support/safety-and-security/laboratory-safety/pregnant-and-breastfeeding-co-workers)

All work-related illness and occurrences: accidents, near-miss incidents and violations that could, or does result in injury and ill health must be reported in the IA system (Reporting incidents | Staff Portal) and sometimes also to the Swedish Work Environment Authority (Arbetsmiljöverket) and/or to the Swedish Social Insurance Agency (Försäkringskassan) (www.anmalarbetsskada.se).

For general information, please visit Karolinska Institutet internal web:

  - ANA Futura website (ANA Futura – for staff | Staff Portal)

  - Laboratory safety (Laboratory safety | Staff Portal)

  - If something happens; If something happens | Staff Portal

Security guard at Campus Flemingsberg to be reached 08-524 86060

I hereby confirm that I have been introduced to the above-described rules, that I have understood these rules and that I will follow them during my work in the ANA Futura laboratories.

Date

Choose date.

Signature (employee)			Signature (group leader)

………………………………….			…………………………….
Name in block letters. ￼		Name in block letters.